## Sheet1
SUNSET PENTHOUSE BUILDING UPGRADES SINCE OCTOBER 1991
October | 1991 | Raypak Hot Water heater installed
November | 1991 | New Leveling Valve installed in elevator
November | 1991 | Sprinkler system installed for landscaping
March | 1994 | Entire building painted with elastomeric paint
August | 1994 | Building replumbed with copper piping
March | 1997 | Boiler re-tubed
June | 1998 | 3-ply modified torch-down roof installed
September | 2000 | East and North walls re-painted with elastomeric
February | 2001 | Pacific Bell brings new phone line into building
July | 2001 | New Sentex entry system circuit board
July | 2001 | Building rewired for digital cable
October | 2001 | Elevator - new door opener/new micro-processor
November | 2003 | Elevator - piston double-cased
March | 2006 | New landscaping on 40% of the project
April | 2006 | Hot water holding tank replaced
July | 2006 | New carpet/paint on all four floors
October | 2006 | Direct TV satellite installed on roof
August | 2008 | New HVAC system installed - new pipes/valves/chiller/boiler - approx. cost $600,000.00
June | 2009 | Roof deck drains re-set and roof deck painted
July | 2009 | New Raypak hot water heater installed ($7,000.00)
August | 2009 | New garage door opener installed - Delongre garage ($2,850.00)
May | 2010 | Bricks reset on northeast wall where sprung out by earthquake
July | 2010 | Entry pad of Sweetzer garage coated with epoxy
May | 2010 | New roof - spray foam
July | 2012 | Building repainted ($60,000)
February | 2015 | New hot water holding tank installed
June | 2015 | Patio totally re-landscaped
October | 2015 | Lobby, elevator, front entry - new tile flooring
November | 2015 | New mailboxes
March | 2016 | Under/above ground sewer lines replaced/relined/cleaned-upper and lower garages - approx. cost $42,000.00
June | 2016 | New sprinkler heads/both garages
April | 2016 | Roof deck re-coated
April | 2019 | Hot water heater overhauled and refurbished
March | 2019 | Circulating pump on hot water heater replaced
June | 2020 | New backflow valve installed for HVAC
September | 2021 | Last of the gate valves in upper garage replaced with ball valves
May | 2022 | Video cameras installed on roof deck, floors 2-4, and south stairwell/central video system upgraded -10 cameras total
January | 2022 | Front half of Evaporative Condensor cleaned of rust and coated with epoxy.
February | 2022 | All new emergency lights installed in stairwells and garages
June | 2022 | New carpeting installed and hallways & stairwells painted - all 4 floors.
August | 2022 | 4 new exit/emergency lights installed - residential floors 1-4
January | 2023 | Westside roof drain re-piped in lower garage and planter bed outside foundation
January | 2023 | New carpet - garage lobbies
January | 2023 | New sump pump in lower garage installed with new electric conduit ($500.00)
February | 2023 | Butterfly Video Intercom installed ($6,000)
June | 2023 | New fire alarm panel/bells /pulls ($9,500)
August | 2023 | 1 new variable drives for HVAC system ($4,700)
August | 2023 | 5 year elevator load test/5 year fire sprinkler system - both passed with no defects
September | 2023 | Overhaul- Delongpre gate-new wheels
August | 2023 | Wireless emergency phone line installed-elevator
September | 2023 | New circuit board - Boiler/ Boiler overhauled
September | 2023 | Roof re-coated. 10 year warranty
April | 2024 | New garage door opener installed/new springs on gate - Sweetzer garage ($6,000.00)
June | 2024 | 2nd variable drive for HVAC installed. ($5,600.00)
February | 2025 | B compressor overhauled . Changed refrigerant. ($22,500)
February | 2025 | Roof drain replaced/eastside/lower garage
September | 2025 | Roof deck re-coated w/Elastoglaze
May | 2026 | Cold water chemical feeder replaced (HVAC system)